## CHERRY IN LINE

Chapter 5

Findings, Results, and Analysis

5.2 Electrical Audit

5.2.1 Outdoor Electrical Equipment

The following Outdoor electrical equipment comprises Cherry Inline Booster electrical installation:

| Item | Description | MODEL | BRAND |
| --- | --- | --- | --- |
| 1. | 150 kVA Transformer (Utility supply)) |  |  |
| 2. | SILENT DIESEL GENERATOR110kVA/88Kw, 220/440V, 60hz | HGC-80 | HEXAGEN |
| 3. | MANUAL TRANSFER SWITCH | BW400EAG | FUJI |
| 4. | LIGHTNING ARRESTER WITH COUNTER | CDR-401 | CIRPROTEC |
| 5. | KILOWATTHOUR METER | V-62S | CANADIAN GENERAL ELECT. |

Utility Pole Mounted Transformer                           Kilowatthour Meter

Manual Transfer Switch			Genset house			Lightning arrester

Make up some conclusions and recommendations