## NVL-BOQ
No. | Description | Items | CAT | CS | IT | Unit Cost | Quan. | Unit | Total | Remarks
1 | Installation of Instrumentation/Controls |  |  |  |  | 10000000 | 1 | lot | 10000000 | Adherence to instrumentation design; Remote monitoring improvement
|  | SCADA integration (Total and individual kW, V, A, PF, eff, data logger, trend plotting and organizer) | M | 5 | 6 |  |  |  | 0
|  | PLC reconfiguration | M | 5 | 6 |  |  |  | 0
|  | Flow meter at mains | M | 5 | 6 |  |  |  | 0
|  | Flow meter at braches (per pump) | M | 5 | 6 |  |  |  | 0
|  | Pressure gauge and transmitter mains | M | 5 | 6 |  |  |  | 0
|  | Pressure gauge and transmitter branch | M | 5 | 6 |  |  |  | 0
|  | Vibration monitoring probes | M | 5 | 6 |  |  |  | 0
|  | Motor Wind temperature sensor | M | 5 | 6 |  |  |  | 0
|  | Thermodynamic efficiency device | M | 5 | 6 |  |  |  | 0
2 | Plant layout |  |  |  |  | 1500000 | 1 | lot | 1500000
|  | MCC room transfer to control station ( should be air conditioned and weather proof). | M | 5 | 4 |  |  |  | 0
|  | Corresponding room adjustment preferably on entrance side be done to accommodate MCC | M | 5 | 4 |  |  |  | 0
3 | Pipe and fittings reconfiguration and refurbishing |  |  |  |  | 500000 | 1 | lot | 500000
|  | Install pipe support at pump immediate discharge | M | 5 | 4 | -
|  | Refurbishing of corroded areas | M | 5 | 1 |  |  |  |  | Bolts, flanges, local spots on piping and fittings
4 | Overhaulling for the GENSET |  | M | 5